| Physics 202 February 5, 2008 | Name: |
| --- | --- |

Capacitors.

1. Simulation of RC Circuits

Build the circuit shown below. The capacitor can be found next to the resistors under the Basic button.  The switch can be found under the Basic button as well. The oscilloscope can be found on the far right.

Open up the oscilloscope (right click) so that the display shows.  Activate the simulation and flip the switch so that the capacitor is charging.  Then when the capacitor is almost fully charged flip the switch so that it discharges.  Let it (almost) fully discharge and stop the simulation.   Expand the oscilloscope and adjust the time base and number of volts per division so that most of the charging curve can be seen as shown below. Adjust the cyan (1) and yellow (2) cursors such that the cyan cursor is at the edge of where the charging begins and the yellow cursor is at 63% percent of the saturation voltage (the saturation voltage is 5V in this case).  Recall that the time constant is the time for the charge to reach about 63% of its saturation value.   Vary the resistance and collect data to fill in the tables that follow.

| R=1.24 kΩ C=3.9F |  |  |  |  |
| --- | --- | --- | --- | --- |
| Voltage applied (V) | 63% of Voltage ( ) | Time to charge to 63% ( ) | 37% of Voltage ( ) | Time to discharge to 37% ( ) |
| 5 |  |  |  |  |
| 10 |  |  |  |  |
| 15 |  |  |  |  |
| 20 |  |  |  |  |

Are the charging time constants and discharging time constants equal?

Are the time constants the same for different applied voltages?

For one of the discharging parts of the oscilloscope reading, find the voltages for ten different times.

| Time ( ) | Voltage ( ) |
| --- | --- |

Make a plot of this data in Excel, fit it to an Exponential, and display the equation.  Paste the graph below.

What is the time constant from the Excel plot?  How does it compare to the results obtained above?

2. Discharging a Real Capacitor

- Connect a cylindrical capacitor to the power supply in DC and apply a voltage between 5 and 10 V.

- Disconnect the capacitor before turning the power supply off. (The capacitor should now have a charge.)

- Connect two wires to the capacitor – one to each terminal.  The wire should just be hanging loose at this point; there should not be a circuit.

- Prepare the multi-meter as a voltmeter and place the needles into the capacitor’s terminals.  Since the capacitor has a charge, you should see a voltage. This will be the voltage at time t=0 in the table below.

- Place one of the wires in one of the connectors for Resistor A on the resistor board.

- Be ready with a watch or clock, after connecting the second wire to the other connector for Resistor A, take a voltage reading every 5 seconds for a full minute and fill in the table below.

- Plot the data in Excel, fit the data to an exponential, display the equation. Paste the graph into this document.  Determine the time constant.

- Set up the multi-meter as an ohmmeter and record the resistance of resistor A.

- Determine the capacitance of the capacitor.

| Time Constant ( ) |  |
| --- | --- |
| Capacitance ( ) |  |

| Time (s) | Voltage (V) |
| --- | --- |
| 0 |  |
| 5 |  |
| 10 |  |
| 15 |  |
| 20 |  |
| 25 |  |
| 30 |  |
| 35 |  |
| 40 |  |
| 45 |  |
| 50 |  |
| 55 |  |
| 60 |  |

3. Time constant dependence of resistance and capacitance.

Repeat the original type of simulation measurements above, but change the resistance.

Varying Resistance

| Charging Part with Capacitance C=3.9F and Voltage=5V |  |
| --- | --- |
| Resistance (k ) | Time constant ( ) |
| 1.24 |  |
| 2.05 |  |
| 3.3 |  |
| 4.3 |  |
| 5.1 |  |

Use Excel to make a plot of Charging Time Constant versus Resistance. Paste it into this document.  Fit it to a Straight Line, Display the equation.

Repeat the procedure, but now vary the capacitance.

Varying Capacitance

| Charging with Resistance 1.24 kΩ and Voltage=5V |  |
| --- | --- |
| Capacitance (F) | Time constant ( ) |
| 1.2 |  |
| 2.2 |  |
| 3.9 |  |
| 5.6 |  |
| 8.2 |  |

Make a plot of Charging Time Constant versus Capacitance. Paste it into this document.

4. Equivalent capacitance.

Simulate the circuit below.

What is the time constant for the circuit?  Paste a screen capture of the oscilloscope displaying your result.

Does this agree with the theory for combining capacitors?  Explain.

Simulate the circuit below.

What is the time constant for the circuit?  Paste a screen capture of the oscilloscope displaying your result.

Does this agree with the theory for combining capacitors?  Explain.

What is the equivalent capacitance of the circuit shown above?

What is the net charge expected to come out of the battery and be placed on the capacitors?

What is the charge on each capacitor?

3.0 F: 4.3 F: 2.2 F: 5.1 F: 1.5 F:

5. RC circuits with combinations

Use theory to predict the charging and discharging times of the circuit shown below.  You must give your reasoning in detail. Then attach an oscilloscope to the circuit and take measurements to verify your prediction.  Paste a screen capture showing the oscilloscope read out (with numbers) for both the charging and discharging scenarios.

Reasoning:

|  | Charging Time ( ) | Discharging Time ( ) |
| --- | --- | --- |
| Prediction |  |  |
| Simulation |  |  |