## Slide 1: NMR
Nuclear Magnetic Resonance Spectroscopy

## Slide 2
Nuclear Magnetic Resonance Spectroscopy
Over the past fifty years nuclear magnetic resonance spectroscopy, commonly referred to as nmr, has become the preeminent technique for determining the structure of organic compounds.
Of all the spectroscopic methods, it is the only one for which a complete analysis and interpretation of the entire spectrum is normally expected.
Although larger amounts of sample are needed than for mass spectroscopy, nmr is non-destructive, and with modern instruments good data may be obtained from samples weighing less than a milligram.
To be successful in using nmr as an analytical tool, it is necessary to understand the physical principles on which the methods are based.

## Slide 3: Nuclear Spin
H
Hydrogen Nucleus
has “spin” A.K.A. spin angular momentum
A.K.A. nuclear magnetic dipole moment
The nuclear spin will align with an external magnetic field
Bo = 2.34 Tesla (100 MHz)
H
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo

## Slide 4
Bo
w
w = g Bo = n/2p
w - resonance frequency
in radians per second,
also called Larmor frequency
n - resonance frequency
in cycles per second, Hz
g - gyromagnetic ratio
Bo - external magnetic
field (the magnet)
Apply an external magnetic field
(i.e., put your sample in the magnet)
z
m
m
w
Spin 1/2 nuclei will have two
orientations in a magnetic field
+1/2 and -1/2.

## Slide 5
Bo
w
z
m
m
w
+1/2
-1/2
Net magnetic moment

## Slide 6
Bo = 0
Bo > 0
Randomly oriented
Highly oriented
Bo
Ensemble of Nuclear Spins
N
S
Each nucleus behaves like
a bar magnet.

## Slide 7
Bo = 0
Bo > 0
E
DE
Allowed Energy States for a
Spin 1/2 System
antiparallel
parallel
DE = g h Bo = h n
-1/2
+1/2
Therefore, the nuclei will absorb light with energy DE resulting in
a change of the spin states.

## Slide 8: Ensemble of Nuclear Spins
Bo = 2.34 Tesla (100 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 300 K
Boltzmann Factor
magnetic energy
thermal energy

## Slide 9
Bo = 2.34 Tesla (100 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 150 K
Boltzmann Factor
magnetic energy
thermal energy
Increase spin excess of ground state by lowering the temperature
Increases the magnetization of the sample

## Slide 10: Magnetization increase at RT
Bo = 2.34 Tesla (100 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 300 K
Boltzmann Factor
magnetic energy
thermal energy

## Slide 11: Magnetization increase at RT
Bo = 4.7 Tesla (200 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 300 K

## Slide 12: Magnetization increase at RT
Bo = 9.4 Tesla (400 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 300 K

## Slide 13
Bo = 2.34 Tesla (100 MHz)
-1/2 gBoh
1/2 gBoh
gBoh
Larmor Frequency
w= gBo
T = 300 K
Boltzmann Factor
magnetic energy
thermal energy

## Slide 14
Bo
Z
x
y
Magnetization is first vertically aligned
Magnetization is then realigned
Procession freq. is proportional to magnetic field
w
Larmor Frequency
w= gBo
g depends on
the nucleus
= gyromagnetic (or magnetogyric )
ratio

## Slide 15
Nucleus | γ / 106 rad s−1 T−1 | γ/2π / MHz T−1
1H | 267.513 | 42.576
2H | 41.065 | 6.536
3He | -203.789 | -32.434
7Li | 103.962 | 16.546
13C | 67.262 | 10.705
14N | 19.331 | 3.077
15N | -27.116 | -4.316
17O | -36.264 | -5.772
19F | 251.662 | 40.053
23Na | 70.761 | 11.262
31P | 108.291 | 17.235
129Xe | -73.997 | -11.777
gyromagnetic ratio table
Largest value and
therefore the most
sensitive nucleus
For NMR.
4 X less
sensitive

## Slide 16
Bo
Z
x
y
Magnetization is first vertically aligned
Magnetization is then realigned
Procession freq. is proportional to magnetic field
w
Larmor Frequency
w= gBo
g depends on
the nucleus
= gyromagnetic (or magnetogyric )
ratio

## Slide 17
Bo
Z
x
y
Magnetic Coils pick up induced voltage from the processing spins
and produces the FID (Free Induction Decay)
w
Larmor Frequency
w= gBo
Magnetic Coils
FID

## Slide 18
Free Induction Decay
The signals decay away due to interactions with the surroundings.
A free induction decay, FID, is the result.
Fourier transformation, FT, of this time domain signal
produces a frequency domain signal.
FT
Time
Frequency

## Slide 20
Why should the proton nuclei in different compounds behave differently in the nmr experiment ?
The answer to this question lies with the electron(s) surrounding the proton in covalent compounds and ions. Since electrons are charged particles, they move in response to the external magnetic field (Bo) so as to generate a secondary field that opposes the much stronger applied field.
This secondary field shields the nucleus from the applied field, so Bo must be increased in order to achieve resonance (absorption of rf energy).